## Plot 3A - 220317 (as per tende (hidden)
Project | : Plot 3A, Bandar Serenia
Re | : Subcon Comparison - Plumbing (Supply and Install)
[8 empty] | 110% |  | Option 1 (Rate /m2) | [8 empty] | Option 2 ( Lump Sum)
|  |  |  | 1 |  | -10% | less 10% from BQ
Item | Description | BQ Reference | Unit | Qty | Total Qty | QTY | AA Cost | [11 empty] | 0 | 0 | 0
[7 empty] | Rate | Adj Rate | Amount | Rate | Adj Rate | Amount | Rate | Adj Rate | Amount | Rate | Adj Rate | Amount | Amount | Amount | Amount
| COMMON | [5 empty] | 0 | 0 | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.0 | Internal Sanitary Installations
1.1 | Supply and install uPVC sanitary pipes and fittings including inspection chambers & floor traps to external sewer for refuse chamber. | B5/6/1 | LS | 0 | 0 | 0 | 10500 | 9545.45 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.2 | Supply and install uPVC sanitary pipes and fittings including floor traps and necessary accesories to external sewer for Guard House's toilet. | B5/6/1 | LS | 0 | 0 | 0 | 3675 | 3340.91 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.3 | Supply and install uPVC sanitary pipes and fittings including floor traps to external sewer for swimminq pool's shower. | B5/6/1 | LS | 0 | 0 | 0 | 2100 | 1909.09 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.4 | Supply and install uPVC sanitary pipes and fittings including floor traps to external sewer for BBQ pit area. | B5/6/1 | LS | 0 | 0 | 0 | 3150 | 2863.64 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.5 | Supply and install uPVC sanitary pipes and fittings including floor traps to external sewer for car wash. | B5/6/1 | LS | 0 | 0 | 0 | 1575 | 1431.82 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.6 | General
| a) Installation of water closets, basins, showers and water taps | B5/6/1 | LS | 0 | 0 | 0 | 315 | 286.36 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) Testing & commissioning of complete internal sanitary system. | B5/6/1 | LS | 0 | 0 | 0 | 105 | 95.45 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| c) Liaision with Authorities for the inspection & obtaining approval for complete internal sanitary system. | B5/6/1 | LS | 0 | 0 | 0 | Included | Included | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
| d) Provision of shop drawings, as-built drawings and operation manual | B5/6/1 | LS | 0 | 0 | 0 | Included | Included | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
1.7 | Others not mentioned but specified in technical specifications, drawings or deemed necessary for complete installation to required functional mode:
| a) | B5/6/1 | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) | B5/6/1 | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| c) | B5/6/1 | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.0 | Internal Cold Water Plumbing Installations
2.1 | Supply and install HDPE cold water pipes including water meters, valves, tees, bends & other necessary fittings for refuse chamber. | B5/6/2 (B) | LS | 0 | 0 | 0 | 2940 | 2672.73 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.2 | Supply and install 1 no. 200 gallons domestic cold water storage tank including all necessary fittings & accessories for Guard House's toilet. | B5/6/2 (B) | LS | 0 | 0 | 0 | 840 | 763.64 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.3 | Supply and install HDPE cold water pipes including water meters, valves, tees, bends & other necessary fittings for Guard House's toilet. | B5/6/2 (B) | LS | 0 | 0 | 0 | 1890 | 1718.18 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.4 | Supply and install HDPE cold water pipes including valves, tees, bends & other necessary fittings for swimming Pool's shower. | B5/6/2 (B) | LS | 0 | 0 | 0 | 3150 | 2863.64 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.5 | Supply and install incoming HDPE cold water pipes to swimming pool balancing tank for block A & C | B5/6/2 (B) | LS | 0 | 0 | 0 | 3150 | 2863.64 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.5 | Supply and install HDPE cold water pipes including valves, tees, bends & other necessary fittings for BBQ pit area. | B5/6/2 (B) | LS | 0 | 0 | 0 | 1050 | 954.55 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.6 | Supply and install HDPE cold water pipes including valves, tees, bends & other necessary fittings for car wash. | B5/6/2 (B) | LS | 0 | 0 | 0 | 1890 | 1718.18 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.7 | Supply and install HDPE cold water pipes including valves, tees, bends & other necessary fittings for landscape's irrigation. | B5/6/2 (B) | LS | 0 | 0 | 0 | 78750 | 71590.91 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.8 | General
| a) Testing & commissioning of complete internal plumbing system. | B5/6/2 (B) | LS | 0 | 0 | 0 | 3500 | 3181.82 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) Liaision with Authorities for the inspection & obtaining approval for complete internal plumbing system. | B5/6/2 (B) | LS | 0 | 0 | 0 | Included | Included | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
| c) Provision of shop drawings, as-built drawings and operation manual | B5/6/2 (B) | LS | 0 | 0 | 0 | Included | Included | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
2.9 | Others not mentioned but specified In technical specifications, drawings or deemed necessary for complete installation to required functional mode:
| a) | B5/6/2 (B) | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) | B5/6/2 (B) | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| 3-STOREY CARPARK & SURAU | [5 empty] | 0 | 0 | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.0 | Internal Sanitary Installations
1.1 | Supply and install uPVC sanitary pipes and fittings including inspection chambers & floor traps to external sewer for surau. | B5/6/2 (B) | LS | 0 | 0 | 0 | 4200 | 3818.18 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.2 | General
| a) Installation of water taps | B5/6/2 (B) | LS | 0 | 0 | 0 | 105 | 95.45 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) Testing & commissioning of complete internal sanitary system. | B5/6/2 (B) | LS | 0 | 0 | 0 | 105 | 95.45 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| c) Lialsion with Authorities for the inspection & obtaining approval for complete internal sanitary system. | B5/6/2 (B) | LS | 0 | 0 | 0 | Included | Included | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
| d) Provision of shop drawings, as-built drawings and operation manual | B5/6/2 (B) | LS | 0 | 0 | 0 | Included | Included | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
1.3 | Others not mentioned but specified in technical specifications, drawings or deemed necessary for complete installation to required functional mode:
| a) | B5/6/3 | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) | B5/6/3 | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| c) | B5/6/3 | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.0 | Internal Cold Water Plumbing Installations
2.1 | Supply and install HDPE cold water pipes including valves, tees, bends & other necessary fittings for Surau. | B5/6/3 | LS | 0 | 0 | 0 | 1575 | 1431.82 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.2 | General
| a) Testing & commissioning of complete internal plumbing system. | B5/6/3 | LS | 0 |  |  | 105 | 95.45 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) Liaision with Authorities for the inspection & obtaining approval for complete internal plumbing system. | B5/6/3 | LS | 0 | 0 | 0 | Included | Included | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
| c) Provision of shop drawings, as-built drawings and operation manual | B5/6/3 | LS | 0 | 0 | 0 | Included | Included | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
2.3 | Others not mentioned but specified In technical specifications, drawings or deemed necessary for complete installation to required functional mode:
| a) | B5/6/3 | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) | B5/6/3 | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| BLOCK A | [5 empty] | 0 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.0 | Internal Sanitary Installations
1.1 | Supply and install underground VCP sanitary pipes c/w concrete encasement, Inspection chambers and other necessary fittings & accessories to external sewer (Ground Floor) | B5/6/3 | LS | 0 | 0 | 0 | 27300 | 24818.18 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.2 | Supply and install uPVC sanitary pipes and fittings including floor traps to the nearest inspection chambers at Ground Floor | B5/6/3 | LS | 0 | 0 | 0 | 15750 | 14318.18 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.3 | Supply and install aluminium trays for high level uPVC sanitary pipes c/w supoort brackets for electrical rooms | B5/6/3 | LS | 0 | 0 | 0 | 4725 | 4295.45 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.4 | Supply and install uPVC soil, waste, anti-syphonage & vent pipes including floor traps and fittings at Ground Floor Male & Female toilets. | B5/6/3 | LS | 0 | 0 | 0 | 3885 | 3531.82 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.5 | Supply and install uPVC soil, waste, anti-syphonage & vent pipes including floor traps and fittings at toilets, kitchen, balcony & yard for each typical units (240 units) | B5/6/3 | LS | 0 | 0 | 0 | 667800 | 607090.91 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.6 | Supply and install uPVC sanitary pipes and fittings including floor traps at Refuse and M&E risers at each floor (1st to 20th Floor). | B5/6/3 | LS | 0 | 0 | 0 | 44100 | 40090.91 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.7 | General
| a) Installation of water closets, basins, showers, water taps and kitchen sinks | B5/6/3 | LS | 0 | 0 | 0 | 151200 | 137454.55 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) Testing & commissioning of complete internal sanitary system. | B5/6/4(B) | LS | 0 | 0 | 0 | 2100 | 1909.09 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| c) Liaislon with Authorities for the inspection & obtaining approval for complete internal sanitary system | B5/6/4(B) | LS | 0 | 0 | 0 | Included | #VALUE! | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
| d) Provision of shop drawings, as-built drawings and operation manual | B5/6/4(B) | LS | 0 | 0 | 0 | 1050 | 954.55 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.8 | Others not mentioned but specified in technical specifications, drawings or deemed necessary for complete installation to required functional mode:
| a) | B5/6/4(B) | LS | 0 | 0 | 0 | Included | #VALUE! | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
| b) | B5/6/4(B) | LS | 0 | 0 | 0 | Included | #VALUE! | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
2.0 | Internal Cold Water Plumbing Installations
2.1 | Supply and install underground & above ground HOPE incoming pipes from bulk meter position to DCW suction tank c1w valves & necessary fittings | B5/6/4(B) | LS | 0 | 0 | 0 | 24150 | 21954.55 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.2 | Supply and install 1 unit domestic cold water pumpsets including all piping, valves, fittings, control panel, pressure gauges, concrete plinth and necessary accessories at Fire Pump Room. | B5/6/4(B) | LS | 0 |  |  | 98700 |  |  |  |  | 0 |  |  | 0 |  |  | 0
2.3 | Supply and install incoming to Hose Reel/Wet riser tank | B5/6/4(B) | LS | 0 | 0 | 0 | 14490 | 13172.73 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.4 | Supply and install HDPE incoming cold water pipes from pumpsets to DCW Storage tank at roof level c/w valves & riecessary fittings. | B5/6/4(B) | LS | 0 | 0 | 0 | 33075 | 30068.18 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.5 | Supply and install 1 unit domestic cold water booster pumpsets including all piping, valves, surge arrestor, fittings, control panel, pressure gauges, concrete plinth and necessary accessories a, roof level. | B5/6/4(B) | LS | 0 | 0 | 0 | 43050 | 39136.36 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.6 | Supply and install HDPE cold water distribution pipes from roof level to cold water meter compartment at each floor c/w valves & necessary fittings (Ist to 20th floor). | B5/6/4(B) | LS | 0 | 0 | 0 | 198975 | 180886.36 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.7 | Supply and install water meters at meter compartments (1st to 20th floor) | B5/6/4(B) | LS | 0 | 0 | 0 | 40320 | 36654.55 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.8 | Supply and install HDPE cold water distribution pipes from meter compartments to each typical condo units (including refuse) c/w valves & necessary fittings (240 units). | B5/6/4(B) | LS | 0 | 0 | 0 | 435960 | 396327.27 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.9 | Supply and install FRP storage water tank & accessories | B5/6/4(B) | LS | 0 |  |  | 115500
2.10 | Supply and install R.C. suction tamk accessories | B5/6/4(B) | LS | 0 |  |  | 90300
2.11 | General
| a) Testing & commissioning of complete internal plumbing system. | B5/6/4(B) | LS | 0 | 0 | 0 | 2100 | 1909.09 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) Liaision with Authorities for the inspection & obtaining approval for complete internal plumbing system. | B5/6/4(B) | LS | 0 | 0 | 0 | 2625 | 2386.36 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| c) Provision of shop drawings, as-built drawings and operation manual | B5/6/4(B) | LS | 0 | 0 | 0 | 1050 | 954.55 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.12 | Others not mentioned but specified in technical specifications, drawings or deemed necessary for complete installation to required functional mode:
| a) | B5/6/4(B) | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) | B5/6/4(B) | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| BLOCK B | [5 empty] | 0 | 0 | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.0 | Internal Sanitary Installations
1.1 | Supply and install underground VCP sanitary pipes c/w concrete encasement, Inspection chambers and other necessary fittings & accessories to external sewer (Ground Floor) | B5/6/5 (B) | LS | 0 | 0 | 0 | 27300 | 24818.18 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.2 | Supply and install uPVC sanitary pipes and fittings including floor traps to the nearest inspection chambers at Ground Floor | B5/6/5 (B) | LS | 0 | 0 | 0 | 15750 | 14318.18 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.3 | Supply and install aluminium trays for high level uPVC sanitary pipes c/w supoort brackets for electrical rooms | B5/6/5 (B) | LS | 0 | 0 | 0 | 4725 | 4295.45 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.4 | Supply and install uPVC soil, waste, anti-syphonage & vent pipes including floor traps and fittings at Ground Floor Male & Female toilets. | B5/6/5 (B) | LS | 0 | 0 | 0 | 3885 | 3531.82 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.5 | Supply and install uPVC soil, waste, anti-syphonage & vent pipes including floor traps and fittings at toilets, kitchen, balcony & yard for each typical units (216 units) | B5/6/5 (B) | LS | 0 | 0 | 0 | 601020 | 546381.82 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.6 | Supply and install uPVC sanitary pipes and fittings including floor traps at Refuse and M&E risers at each floor (1st to 18th Floor). | B5/6/5 (B) | LS | 0 | 0 | 0 | 39690 | 36081.82 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.7 | General
| a) Installation of water closets, basins, showers, water taps and kitchen sinks | B5/6/5 (B) | LS | 0 | 0 | 0 | Included | Included | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
| b) Testing & commissioning of complete internal sanitary system. | B5/6/5 (B) | LS | 0 | 0 | 0 | 2100 | 1909.09 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| c) Liaision with Authorities for the inspection & obtaining approval for complete internal sanitary system | B5/6/5 (B) | LS | 0 | 0 | 0 | Included | Included | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
| d) Provision of shop drawings, as-built drawings and operation manual | B5/6/5 (B) | LS | 0 | 0 | 0 | 1050 | 954.55 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.8 | Others not mentioned but specified in technical specifications, drawings or deemed necessary for complete installation to required functional mode:
| a) | B5/6/5 (B) | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) | B5/6/5 (B) | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.0 | Internal Cold Water Plumbing Installations
2.1 | Supply and install underground & above ground HDPE incoming pipes from bulk meter position to DCW suction tank c1w valves & necessary fittings | B5/6/5 (B) | LS | 0 | 0 | 0 | 23100 | 21000 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.2 | Supply and install 1 unit domestic cold water pumpsets including all piping, valves, fittings, control panel, pressure gauges, concrete plinth and necessary accessories at Fire Pump Room. | B5/6/5 (B) | LS | 0 |  |  | 80325 | 73022.73 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.3 | Supply and install incoming to Hose Reel / Wet riser tank | B5/6/5 (B) | LS | 0 |  |  | 14490 | 13172.73 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.4 | Supply and install HDPE incoming cold water pipes from pumpsets to DCW Storage tank at roof level c/w valves & riecessary fittings. | B5/6/5 (B) | LS | 0 | 0 | 0 | 31500 | 28636.36 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.5 | Supply and install 1 unit domestic cold water booster pumpsets including all piping, valves, surge arrestor, fittings, control panel, pressure gauges, concrete plinth and necessary accessories a, roof level. | B5/6/6 (B) | LS | 0 | 0 | 0 | 43050 | 39136.36 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.6 | Supply and install HDPE cold water distribution pipes from roof level to cold water meter compartment at each floor c/w valves & necessary fittings (Ist to 18th floor). | B5/6/6 (B) | LS | 0 | 0 | 0 | 181650 | 165136.36 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.7 | Supply and install water meters at meter compartments (1st to 20th floor) | B5/6/6 (B) | LS | 0 | 0 | 0 | 36225 | 32931.82 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.8 | Supply and install HDPE cold water distribution pipes from meter compartments to each typical condo units (including refuse) c/w valves & necessary fittings (216 units). | B5/6/6 (B) | LS | 0 | 0 | 0 | 392280 | 356618.18 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.9 | Supply and install FRP storage water tank & accessories | B5/6/6 (B) | LS | 0 |  |  | 112350 | 102136.36 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.10 | Supply and install RC suction tank accessories | B5/6/6 (B) | LS | 0 |  |  | 90300 | 82090.91 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.11 | General
| a) Testing & commissioning of complete internal plumbing system. | B5/6/6 (B) | LS | 0 | 0 | 0 | 2100 | 1909.09 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) Liaislon with Authorities for the inspection & obtaining approval for complete internal plumbing system. | B5/6/6 (B) | LS | 0 | 0 | 0 | 2625 | 2386.36 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| c) Provision of shop drawings, as-built drawings and operation manual | B5/6/6 (B) | LS | 0 | 0 | 0 | 1050 | 954.55 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.12 | Others not mentioned but specified in technical specifications, drawings or deemed necessary for complete installation to required functional mode:
| a) | B5/6/6 (B) | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) | B5/6/6 (B) | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| BLOCK C | [5 empty] | 0 | 0 | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.0 | Internal Sanitary Installations
1.1 | Supply and install underground VCP sanitary pipes c/w concrete encasement, Inspection chambers and other necessary fittings & accessories to external sewer (Ground Floor) | B5/6/6 (B) | LS | 0 | 0 | 0 | 27300 | 24818.18 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.2 | Supply and install uPVC sanitary pipes and fittings including floor traps to the nearest inspection chambers at Ground Floor | B5/6/6 (B) | LS | 0 | 0 | 0 | 15750 | 14318.18 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.3 | Supply and install aluminium trays for high level uPVC sanitary pipes c/w supoort brackets for electrical rooms | B5/6/6 (B) | LS | 0 | 0 | 0 | 4725 | 4295.45 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.4 | Supply and install uPVC soil, waste, anti-syphonage & vent pipes including floor traps and fittings at Ground Floor Tadika (Tol.1, Tol.2 & Pantry) | B5/6/6 (B) | LS | 0 | 0 | 0 | 3885 | 3531.82 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.5 | Supply and install uPVC soil, waste, anti-syphonage & vent pipes including floor traps and fittings at toilets, kitchen, balcony & yard for each typical units (207 units) | B5/6/6 (B) | LS | 0 | 0 | 0 | 575977.5 | 523615.91 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.6 | Supply and install uPVC sanitary pipes and fittings including floor traps at Refuse and M&E risers at each floor (1st to 17th Floor). | B5/6/6 (B) | LS | 0 | 0 | 0 | 37485 | 34077.27 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.7 | General
| a) Installation of water closets, basins, showers, water taps and kitchen sinks | B5/6/6 (B) | LS | 0 | 0 | 0 | Included | Included | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
| b) Testing & commissioning of complete internal sanitary system. | B5/6/7 (B) | LS | 0 | 0 | 0 | 2100 | 1909.09 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| c) Liaision with Authorities for the inspection & obtaining approval for complete internal sanitary system | B5/6/7 (B) | LS | 0 | 0 | 0 | Included | Included | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
| d) Provision of shop drawings, as-built drawings and operation manual | B5/6/7 (B) | LS | 0 | 0 | 0 | 1050 | 954.55 | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.8 | Others not mentioned but specified in technical specifications, drawings or deemed necessary for complete installation to required functional mode:
| a) | B5/6/7 (B) | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) | B5/6/7 (B) | LS | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.0 | Internal Cold Water Plumbing Installations
2.1 | Supply and install underground & above ground HDPE incoming pipes from bulk meter position to DCW suction tank c/w valves & necessary fittings | B5/6/7 (B) | LS | 0 | 0 | 0 | 20580 | 18709.09 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.2 | Supply and install 1 unit domestic cold water pumpsets including all piping, valves, fittings, control panel, pressure gauges, concrete plinth and necessary accessories at Fire Pump Room. | B5/6/7 (B) | LS | 0 |  |  | 81480 |  |  |  |  | 0 |  |  | 0 |  |  | 0
2.3 | Supply and install incoming to Hose Reel / Wet riser tank | B5/6/7 (B) | LS | 0
2.4 | Supply and install HDPE incoming cold water pipes from pumpsets to DCW Storage tank at roof level c/w valves & riecessary fittings. | B5/6/7 (B) | LS | 0 | 0 | 0 |  | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.5 | Supply and install 1 unit domestic cold water booster pumpsets including all piping, valves, surge arrestor, fittings, control panel, pressure gauges, concrete plinth and necessary accessories a, roof level. | B5/6/7 (B) | LS | 0 | 0 | 0 |  | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.6 | Supply and install HDPE cold water distribution pipes from roof level to cold water meter compartment at each floor c/w valves & necessary fittings (Ist to 17th floor). | B5/6/7 (B) | LS | 0 | 0 | 0 |  | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.7 | Supply and install water meters at meter compartments (1st to 17th floor) | B5/6/7 (B) | LS | 0 | 0 | 0 |  | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.8 | Supply and install HDPE cold water distribution pipes from meter compartments to each typical condo units (including refuse) c/w valves & necessary fittings (207 units). | B5/6/6 (B) | LS | 0 | 0 | 0 |  | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.9 | Supply and install FRP storage water tank & accessories | B5/6/6 (B) | LS | 0
2.10 | Supply and install RC suction tank accessories | B5/6/6 (B) | LS | 0
2.11 | General
| a) Testing & commissioning of complete internal plumbing system. | B5/6/6 (B) | LS | 0 | 0 | 0 |  | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) Liaislon with Authorities for the inspection & obtaining approval for complete internal plumbing system. | B5/6/6 (B) | LS | 0 | 0 | 0 |  | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| c) Provision of shop drawings, as-built drawings and operation manual | B5/6/6 (B) | LS | 0 | 0 | 0 |  | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.12 | Others not mentioned but specified in technical specifications, drawings or deemed necessary for complete installation to required functional mode:
| a) | B5/6/6 (B) | LS | 0 | 0 | 0 |  | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| b) | B5/6/6 (B) | LS | 0 | 0 | 0 |  | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
| Total Amount (RM) | [7 empty] | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
Discount Given (RM)
| Total Amount After Discount (RM) | [7 empty] | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0 | 0 | 0 | 0
| Total Saving / Overrun (RM) | [10 empty] | #VALUE! |  |  | #VALUE! |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[12 empty] | #VALUE! |  |  | #VALUE! |  |  | #VALUE!
| FOR AA INTERNAL USE ONLY | [7 empty] | AAKL | [8 empty] | AAKL
| Total Amount (BQ Qty) (RM) | [7 empty] | #REF! | [8 empty] | #REF!
| Total Saving for Qty (BQ-adjusted) (RM) | [7 empty] | #REF! | [8 empty] | #REF!
| Quoted During Tender / Use for AA tender rate | [8 empty] | Yes / Use for AA Tender |  |  | Yes / Use for AA Tender |  |  | Yes / Not Use
Negotiate (within variance of 3% from lowest)
| FOR AA INTERNAL USE ONLY | [7 empty] | AA Cost |  |  | 0% |  |  | 0% |  |  | 0%
| Total Amount (BQ Qty) (RM) | [7 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 0
| Total Saving for Qty (BQ-adjusted) (RM) | [7 empty] | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0
| Note: | [8 empty] | 1) Apply in 3 stages; 20% upon completion of grd beam, 70% aft floor slab & 10% aft apron | [5 empty] | 1) 5 year from the start of project or 3 years from the date of CPC
2) 4 years warranty from the start of the project
Commented by Ms. Lam
Commented by Mr. Khew:
Commented by Mr. Chuah:

## VO13
OMISSION (VO 1)
1 | To supply & install cold water automatic booster pumpset (singe phase)
a | Ground floor - Pumpset (Grundfos, CM 3-5 PT) :-
| Pump water from ground floor suction tank to Block A, B & C, Level 6 storage tanks | no | 1 | 0 | 1 | -5200
b | Level 6 - Pumpste (Grundfos, CM 3-5 PT) :-
Pump water from L6 to roof water tank
i | Block A | no | 1 | 0 | 1 | -5200
ii | Block B | no | 1 | 0 | 1 | -5200
iii | Block C | no | 1 | 0 | 1 | -5200
2 | To supply & install PE water tanks inclusive of valves, ball float valve & fittings
i | Ground floor - 500 gallon PE tank | no | 2 | 0 | 2 | -1000
ii | Block A, Level 6 - 500 gallon Pe tank | no | 1 | 0 | 1 | -1000
iii | Block B, Level 6 - 500 galon Pe tank | no | 1 | 0 | 1 | -1000
iv | Block C, Level 6 - 500 gallon PE tank | no | 1 | 0 | 1 | -1000
v | Block A, Roof - 500 gallon PE tank | no | 1 | 0 | 1 | -1000
vi | Block B, Roof - 500 gallon PE tank | no | 1 | 0 | 1 | -1000
vii | Block C, Roof - 500 gallon PE tank | no | 1 | 0 | 1 | -1000
3 | Supply & install 25mm Hdpe Pn 12.5 riser pipe:
i | Ground floor to level 6 of Block A, B & C | m | 700 | 0 | 700 | -10
ii | Block A - L6 to roof tank | m | 50 | 0 | 50 | -10
iii | Block B - L6 to roof tank | m | 45 | 0 | 45 | -10
iv | Block C - L6 to roof tank | m | 42 | 0 | 42 | -10
4 | Supply & install 25mm Hdpe Pn 12.5 distribution pipe for every floor c/w stopcock
i | Block A - Ground to roof | m | 70 | 0 | 70 | -10
ii | Block B - Ground to roof | m | 64 | 0 | 64 | -10
iii | Block C - Ground to roof | m | 61 | 0 | 61 | -10
iv | Suplly & install pvc tap | No | 61 | 0 | 61 | -20
5 | Supply & install 25mm Hdpe Pn 12.5 incoming pipes from Sunsuria Asas store to Block A & kongsi | m | 700 | 0 | 700 | -10
ADDITION
1 | To supply & install cold water automatic booster pumpset (singe phase)
a | Ground floor - Pumpset (Grundfos, CM 3-5 PT) :-
| Pump water from ground floor suction tank to Block A, B & C, Level 6 storage tanks | no | 1 | 0 | 1 | 5200
b | Level 6 - Pumpste (Grundfos, CM 3-5 PT) :-
Pump water from L6 to roof water tank
i | Block A | no | 1 | 0 | 1 | 5200
ii | Block B | no | 1 | 0 | 1 | 5200
iii | Block C | no | 1 | 0 | 1 | 5200
2 | To supply & install PE water tanks inclusive of valves, ball float valve & fittings
i | Ground floor - 500 gallon PE tank | no | 2 | 0 | 2 | 1000
ii | Block A, Level 6 - 500 gallon Pe tank | no | 1 | 0 | 1 | 1000
iii | Block B, Level 6 - 500 galon Pe tank | no | 1 | 0 | 1 | 1000
iv | Block C, Level 6 - 500 gallon PE tank | no | 1 | 0 | 1 | 1000
v | Block A, Roof - 500 gallon PE tank | no | 1 | 0 | 1 | 1000
vi | Block B, Roof - 500 gallon PE tank | no | 2 | 0 | 2 | 1000
vii | Block C, Roof - 500 gallon PE tank | no | 1 | 0 | 1 | 1000
Viii | Block C, GF - 500 gallon PE tank | no | 2 | 0 | 2 | 1000
3 | Supply & install 25mm Hdpe Pn 12.5 riser pipe:
i | Ground floor to level 6 of Block A, B & C | m | 600 | 0 | 600 | 10
ii | Block A - L6 to roof tank | m | 51.2 | 0 | 51.2 | 10
iii | Block B - L6 to roof tank | m | 41.6 | 0 | 41.6 | 10
iv | Block C - L6 to roof tank | m | 28.8 | 0 | 28.8 | 10
4 | Supply & install 25mm Hdpe Pn 12.5 distribution pipe for every floor c/w stopcock
i | Block A - Ground to roof | m | 70 | 0 | 70 | 10
ii | Block B - Ground to roof | m | 64 | 0 | 64 | 10
iii | Block C - Ground to roof | m | 61 | 0 | 61 | 10
iv | Suplly & install pvc tap | No | 58 | 0 | 58 | 20
5 | Supply & install 25mm Hdpe Pn 12.5 incoming pipes from Sunsuria Asas store to Block A & kongsi | m | 700 | 0 | 700 | 10
6 | Suppply & install 25mm HDPE PN12.5 incoming pipes to Block A batching plant | m | 110 | 0 | 110 | 10