## cold water-podium
Podium ( Option*)
Cold Water Services (Option) | LOT | 1 | 393952
Supply and installation of Pilot Operated Modulating Float Valve,
internal and external aluminium ladders, water level indicator, vent,
overflow pipe, scour pipe, access manhole, pipe sleeves and all
outlet for compartmented RC Suction Tank and associated
accessories
DCW Suction Tanks | Lot |  |  | 1 | 16000
Retail Storage Tanks | Lot |  |  | 1 | 16000
Supply and installation of High Density Polyethlene (HDPE) liner
for compartmented RC suction tanks.
DCW Suction Tanks | Lot |  |  | 1 | 40000
Retail Storage Tanks | Lot |  |  | 1 | 15000
Supply and installation of Pilot Operated Modulating Float Valve, | Lot |  |  | 1 | 20000
internal and external aluminium ladders, water level indicator, vent,
overflow pipe, scour pipe, access manhole, pipe sleeves and all
outlet for and associated accessories for all RC fire water tanks.
Ductile iron/stainless steel balancing pipe for RC tanks complete | Lot |  |  | 1 | 1000
with valves, fittings and accessories
Supply and installation of Multi-Medium water filters c/w auto
backwash to the inflow capacity of incoming water to domestic water
tanks capacity.
DCW Suction Tanks Multi-Medium water filters | Lot |  |  | 1 | 44000
Retail Storage Tanks Multi-Medium water filters | Lot |  |  | 1 | 26000
Variable Speed Drive Cold water transfer pumps c/w pump motor,
valves, strainer, check valve, double bellow flexible joint with support
rod, reducers, and other accessories.
CW-SA-T1 & T2 - Ground Floor | Lot |  |  | 1 | 55000
Control Panel c/w MCCB, ELCB, Amperage meter, Voltage meter,
Wiring and associated accessories for following.:
SP-TFP-01 - Ground Floor | Lot |  |  |  | Inclusive
Water Level Indicator Panel at Guard House c/w High and Low Level | Lot |  |  | 1 | 10000
Alarm, Wiring and associated signal cable to the water level
indicator at Roof Tank
100ø mild steel cement lined transfer pipe c/w fitting, hanger
& support and associated accessories
From DCW Suction Tank at Ground Level to FRP storage | Lot |  |  | 1 | 35000
tank at roof level.
Surge anticipating relief valve for all transfer pump c/w fitting, pressure | Lot |  |  | 1 | 6000
guage and associated accessories (to manufacturer recommendation).
Variable Speed Drive Cold water pneumatic pumps c/w pressure
tanks, pump motor, valves, strainer, check valve, double bellow
flexible joint with support rod, reducers, and other accessories.
CW-RET/1 & 2 - Ground Floor | Lot |  |  | 1 | 28000
Control Panel c/w MCCB, ELCB, Amperage meter, Voltage
meter, Wiring and associated accessories for following.
SP-BP-RET - Ground Floor | Lot |  |  |  | Inclusive
PPR PN16 cold water pneumatic pumped main pipe and associated | Lot |  |  | 1 | 5000
accessories
Installation sub-water meter c/w stainless steel pipe header, | Lot |  |  | 1 | 8000
isolating valve, lockable valves, check valves all other necessary
comply with authority's regulation.
HDPE Cold Water Distribution pipe with Socket Fusion joint from
main pipe to following retail:
Ground Floor
R-G-01 | Lot |  |  | 1 | 1500
R-G-02 | Lot |  |  | 1 | 1500
R-G-03 | Lot |  |  | 1 | 1500
R-G-04 | Lot |  |  | 1 | 1500
R-G-05 | Lot |  |  | 1 | 1500
R-G-06 | Lot |  |  | 1 | 1500
R-G-07 | Lot |  |  | 1 | 1500
R-G-08 | Lot |  |  | 1 | 1500
R-G-09 | Lot |  |  | 1 | 1500
R-G-10 | Lot |  |  | 1 | 1500
1st Floor
R-F-01 | Lot |  |  | 1 | 500
R-F-02 | Lot |  |  | 1 | 500
R-F-03 | Lot |  |  | 1 | 500
R-F-04 | Lot |  |  | 1 | 500
R-F-05 | Lot |  |  | 1 | 500
R-F-06 | Lot |  |  | 1 | 500
2nd Floor
R-S-01 | Lot |  |  | 1 | 500
R-S-02 | Lot |  |  | 1 | 500
R-S-03 | Lot |  |  | 1 | 500
HDPE Cold Water Distribution pipe with Socket Fusion joint
from gravity dropper to following:
Ground Floor
Guad House | Lot |  |  | 1 | 2000
Toilet (Male) | Lot |  |  | 1 | 3000
Toilet (Female) | Lot |  |  | 1 | 3000
Toilet (Disable) | Lot |  |  | 1 | 800
Management Office | Lot |  |  | 1 | 1500
Landscape Garden Tap | Lot |  |  | 1 | 5000
1st Floor
Car Wash | Lot |  |  | 1 | 1500
4th Floor
Swimming Pool Balancing Tank | Lot |  |  | 1 | 2000
5th Floor
Surau (Male) | Lot |  |  | 1 | 500
Surau (Female) | Lot |  |  | 1 | 500
Changing Room (Male) | Lot |  |  | 1 | 3000
Changing Room (Female) | Lot |  |  | 1 | 3000
Playground Area (Sink) | Lot |  |  | 1 | 300
Tea House | Lot |  |  | 1 | 200
Landscape Tap | Lot |  |  | 1 | 1000
Stainless steel elbow at all end point of distribution pipe. | Lot |  |  |  | Inclusive
Chrome type stop valves for toilet and all fittings | Lot |  |  | 1 | 3000
Marking, painting and labelling. | Lot |  |  | 1 | 1000
Testing and commissioning. | Lot |  |  | 1 | 3000
Any other items shown on the drawings stated in the specification or
deemed necessary to complete the system (Contractor to specify)