## infrastructure
Infrastructure Work | Lot | 1 | 214136 |  | 205900
Main Incoming Reticulation Pipework
Provision for obtaining all necessary approval from authorities and | Lot |  |  | 1 | By C&S
submission of all necessary plans.
To obtain and connect all bulk meter complete with fittings and | Lot |  |  | 1 | By C&S
necessary accessories from LAP/BOMBA.
150ø ductile iron cement lined pipe with epoxy coated complete with | Lot |  |  | 1 | 40000
fitting, valves and supports from bulk meter to all suction tanks and fire
protection tanks at Ground.
Marking, painting and labelling | Lot |  |  | 1 | 1000
Testing and commissioning | Lot |  |  | 1 | 2000
Any other items shown on the drawings stated in the specification or
deemed necessary to complete the system (Contractor to specify)
Hydrant Reticulation System
150ø ductile iron cement lined pipe with epoxy coated c/w fitting and | Lot |  |  | 1 | 50000
supports from hydrant meter to hydrant pillars
Testing and Comissioning. | Lot |  |  | 1 | 2000
Marking, painting and labelling | Lot |  |  | 1 | 1000
Any other items shown on the drawings stated in the specification or
deemed necessary to complete the system (Contractor to specify)
Hot Water Reticulation System
100ø PPR PN20 transfer pipe c/w globe valve, check valve, fitting, hanger
& support and associated accessories.
From project boundary to 4th Floor onsen pool pump room. | Lot |  |  | 1 | 26000
Marking, painting and labelling | Lot |  |  | 1 | 800
Testing and Comissioning. | Lot |  |  | 1 | 800
Any other items shown on the drawings stated in the specification or
deemed necessary to complete the system (Contractor to specify)
Manholes & Interconnecting Pipework
Sewerage sump pits and c/w heavy duty ductile iron cover, internal wall
steps etc. to local code and authority requirement.
MH 01 | Lot |  |  | 1 | 2000
MH 02 | Lot |  |  | 1 | 2000
MH 03 | Lot |  |  | 1 | 2000
MH 04 | Lot |  |  | 1 | 2000
MH 05 | Lot |  |  | 1 | 2000
MH 06 | Lot |  |  | 1 | 2000
MH 07 | Lot |  |  | 1 | 2300
MH 08 | Lot |  |  | 1 | 2300
MH 09 | Lot |  |  | 1 | 3000
MH 10 | Lot |  |  | 1 | 3000
MH 11 | Lot |  |  | 1 | 2000
MH 12 | Lot |  |  | 1 | 2000
MH 13 | Lot |  |  | 1 | 2300
MH 14 | Lot |  |  | 1 | 2600
MH 15 | Lot |  |  | 1 | 3000
MH 16 | Lot |  |  | 1 | 3400
MH 17 | Lot |  |  | 1 | 3400
VCP pipe connection between manholes c/w pipe sleeve/opening. | Lot |  |  | 1 | 30000
VCP pipe connection between last manholes to external manhole c/w | Lot |  |  | 1 | 9000
pipe sleeve/opening.
Testing and Comissioning. | Lot |  |  | 1 | 2000
Marking, painting and labelling
Any other items shown on the drawings stated in the specification or
deemed necessary to complete the system (Contractor to specify)